## Access
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Access | 1A | 1 | There are clearly defined referral pathways for all referral sources which are ideally reviewed at least every three years with commissioners. Services should consider accepting referrals from parents/carers, but all should accept referrals from sources other than a GP e.g. School Nurses, Health Visitors or Speech and Language Therapy to avoid any GP gatekeeper issues. | A copy of commissioning pathway/guidance with all referral sources with a review date within the last 3 years
Access | 1A | 2 | The local Newborn Hearing Screening Programme (NHSP) within the service meets at least the acceptable level of each of the programme standards and works towards the achievable levels. Referrals for diagnostic assessment are seen within the standard timescales of the programme (NHSP-S04 and NHSP-S05)7. | Copy of NHSP performance for site
Access | 1A | 3 | The Service has defined triage criteria for designating routine and urgent referrals. Urgent referrals should include, for example, hearing tests following confirmed or suspected bacterial meningitis, babies with congenital CMV and newly identified PCHI. | A document or policy with defined triage criteria for urgent and routine referrals
Access | 1A | 4 | Routine new referrals of children outside of the NHSP are offered an appointment for diagnostic hearing assessment within six weeks of receipt of referral. | Waiting list data return - 95% or above are seen within waiting target for fully met
Access | 1A | 5 | Urgent new referrals and NHSP referrals for diagnostic hearing assessment are offered an appointment within four weeks of receipt of referral and being well enough to be test. | Waiting list data return - 95% or above are seen within waiting target for fully met
Access | 1A | 6 | When a hearing loss is identified and a decision to fit amplification is made, an initial appointment to fit the hearing aids is offered within four weeks from the date of decision (either for temporary or permanent hearing loss). | Waiting list data return - 95% or above are seen within waiting target for fully met
Access | 1A | 7 | Children requiring follow up hearing assessment or hearing aid review should be offered an appointment within six weeks of the previously agreed review date, for example a child due for annual review on 01/01/2023 should be seen for that review by 12/02/2023 | Waiting list data return - 95% or above are seen within waiting target for fully met
Access | 1A | 8 | Flexibility in appointments is available where possible. Where the service is delivered from multiple locations, a choice of locations is offered, as is a choice of time, e.g. offering appointments outside of school time. | Appointment booking policy
Access | 1A | 9 | Where clinically appropriate the service offers virtual appointments/remote care in accordance with local remote care guidance, to offer greater appointment flexibility. | Local remote care guidance or detailed within appointment guidance
Access | 1A | 10 | Appointment reminders are offered in a variety of formats to promote accessibility, e.g. text messages, emails, and phone-calls. | Appointment booking policy
Access | 1A | 11 | The premises for providing care has good physical access, including for buggies or families with additional needs, and areas should be sign posted 3.
Access | 1A | 12 | The department has sufficient facilities to assess children and all facilities are in line with local and national infection control guidance. | Copy of audit confirming compliance with local and national infection control guidance - where not, is defined on risk register
Access | 1A | 13 | Robust estate, cleaning and infection control policies are in place and adhered to. Compliance with these policies should be regularly reviewed and documented | Audit of estate, cleaning and infection control policy compliance. Infection control policy in date and with a clear review date
Access | 1A | 14 | There is a clear transition process for those patients requiring ongoing audiological care within adult services, either those with hearing aids or with conditions which require life-long monitoring. These are established, embedded, and regularly reviewed. Information on current hearing levels, hearing aid model, prescription formula and assistive listening devices should be held by the patient and circulated by the paediatric service to the adult service prior to transition | Transistion policy - audit of children who have transitioned to ensure that policy is being applied consistently
Access | 1A | 15 | Audiology services should offer referral to other services including ENT, paediatrics, education (Teacher of the Deaf services), speech and language therapy and third sector (e.g. NDCS) ideally without having to return to the GP. | A copy of commissioning pathway/guidance
Access | 1A | 16 | Discharge from the service follows strict criteria which are documented in policies and through national or local guidance. | Discharge criteria policy
Access | 1B | 1 | Waiting times for the service are monitored, as per 1a, and are based on robust data collection which is reported to appropriate bodies (e.g. DM01 to NHS England or Waiting Time Standards to Scottish Government)8. Where waiting times do not meet those set out in 1a, recovery plans are in place or being developed to ensure compliance. | Waiting list data return with risk assessment and recovery plan if not meeting target
Access | 1B | 2 | The service has clearly defined acceptance and rejection criteria for referrals with action taken to address any non-compliance with referral criteria. | Document or policy with clearly defined acceptance and rejection criteria for referrals

## Communication
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Communication | 2 | 1 | Information regarding the appointment (for example how to prepare for the appointment) is provided as part of the appointment booking process. This should include access to directions/maps, parking facilities, public transport details, appointment duration, facilities available and, if possible, which member of staff the family will be seeing. This will also include a way for families to contact the department in advance, for example for changes in appointment or if an interpreter / any reasonable adjustments are required. | Copy of appointment letter which complies with this standard
Communication | 2 | 2 | Families are provided with a choice of communication methods to contact the department, including phone numbers, postal address, text messaging and email. 95% or more of contacts are returned within two working days and this is routinely monitored. | Monitoring of return of calls, copy of letter with choice of communication method
Communication | 2 | 3 | Qualified interpreters are available to attend appointments where required to ensure the family / young person is fully involved and any process understood. | Interpreter booking process
Communication | 2 | 4 | Departments should offer both access guidance on their service for specific groups and condition-specific information, such as a guide to their services for young people who may be autistic or with learning disabilities and information on glue-ear. As a minimum, all information provided to families should be either from a recognised source or, where locally produced, in ‘Plain English’ 9, produced with patient input, kept up-to-date and reviewed at regular intervals. | Copy of guidance
Communication | 2 | 5 | Children, young people, and families will receive both an accessible verbal explanation of the assessment results and diagnosis supporting literature (if required) on the same day that the assessment is carried out. This includes information about any follow-up arrangements and timescale. For patients who are discharged, information should be given on how to access the service again if required. Where results are subject to peer review e.g. ABR, the family should be advised that these are preliminary results which will be confirmed by review, and they will be notified if there are any differences between the results they are given and the final outcome. | Observation of debrief and copy of information given to parents
Communication | 2 | 6 | Departments should issue written information including copies of the clinical letters within two weeks of the appointment or peer review being returned to the families, referrer, the child’s GP and any other relevant professionals such as educational services. This should include an explanation of the results and details of the agreed management plan with time scales. | Monitoring of report issing times - audit of report contents
Communication | 2 | 7 | Children, young people, and families are routinely given information about support services, including education sensory support, local and national voluntary groups for children and young people. | Report / letter contents which clearly details other support
Communication | 2 | 8 | Services should attempt to source translated materials to ensure that children, young people, and families have access to information in their preferred language. Where this is not possible, this is monitored and if appropriate, further translated materials are requested. | Availability of resources in languages other than English
Communication | 2 | 9 | For patients undergoing transition to adult services, information should be provided to young people on the transition process and future from the age of 14 so that they can take an active part in their own transition. | Transisition policy detailing this
Communication | 2 | 10 | All cases referred from the NHSP or with PCHI are inputted to the relevant database, such as S4H, for audit and monitoring of results and outcomes. Where a child is identified with a late onset hearing loss, this is reported and documented in accordance with national and local guidelines. | Audit of PCHI record - copy of late identified form completed

## Assessment and Aetiology
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Assessment and Aetiology | 3A | 1 | Local care pathways are available with a range of recognised behavioural and objective audiology assessment techniques across age and developmental ranges, e.g. VRA, performance audiometry, PTA, tympanometry, reflexes and OAEs as a minimum for behavioural assessment. Each department will specify which techniques they offer on their website and where others are available if required for an individual’s need. | Copy of local care pathways, website display
Assessment and Aetiology | 3A | 2 | All audiological procedures follow national standards/guidelines (e.g. BSA) where these exist. Where they do not, there is a well-defined local protocol or guidance with adequate equipment and staff experience in place to be able to make appropriate adjustments for the assessment of complex cases. Where local policy deviates from national standards / guidance, this should be documented locally, a clear reason for this should be outlined and regularly risk assessed. | Copy of audiological procedure and audits which show both compliance and clear reasoning for deviation
Assessment and Aetiology | 3A | 3 | Cases for which degree and type of hearing loss is not defined at the first appointment have consideration of alternative procedures for the follow up appointment if required (staff, equipment, time, technique for testing). | Copy of procedure which details this and clinical observation which shows this
Assessment and Aetiology | 3A | 4 | All equipment is calibrated in line with the recommended frequency (mostly yearly) to international ISO or BSI standards and this calibration is documented. | In-date calibration certficates
Assessment and Aetiology | 3A | 5 | Daily checks of equipment are carried out according to ISO, BSA or manufacturers’ recommendations and completion of these checks is documented across all clinics for each piece of equipment in use that day. | Daily stage A calibration logs
Assessment and Aetiology | 3A | 6 | Hearing assessments are carried out in appropriate acoustic conditions, ideally in soundproof or treated rooms. As a minimum, where there is a risk of ambient noise levels impacting hearing assessment as per BSA 201410 there is a local policy in place for monitoring and mitigating this risk. | Observation of estates, where not consistent, risk assessment in place
Assessment and Aetiology | 3A | 7 | Consideration is given to the layout of the room for optimal testing efficiency and accuracy including options for recording testing for peer-review (distance to VRA rewards, view of child by tester, positioning of parent, wires for inserts and bone conductor). The service has a range of engaging and developmentally appropriate toys and games, furniture, and equipment for stimulus presentation. | Clinical observation
Assessment and Aetiology | 3A | 8 | Recording of results for behavioural testing is in line with BSA national guidance for the test10. | Case audit
Assessment and Aetiology | 3A | 9 | The service takes an active part in both internal and external ABR peer review which is consistent with BSA Guidance15 and all ABR testers demonstrate clear competency with the technique. | Confirmation of participation in ABR peer review with recent cases both reviewed and returned
Assessment and Aetiology | 3B | 1 | All assessments are interpreted using data-driven protocols with evidence-based practice (e.g. two out of three ascending positive responses)10. This should be assured by internal peer-peer observation and documented. | Evidence of peer-peer observation
Assessment and Aetiology | 3B | 2 | Consideration is given to the developmental profile of the child, with options to change the test strategy / testing if required. | Clinical observation
Assessment and Aetiology | 3B | 3 | Written local and national protocols / guidelines, are routinely followed. Protocols / guidelines should define appropriate management options for the needs derived from the assessment, referral on, review appointment and decision to discharge. Regular audit that management decisions meet those detailed within the protocol / guidelines should be carried out to ensure it is embedded | Audit of management decisions and notes which show clear agreement with protocols
Assessment and Aetiology | 3B | 4 | For children with PCHI, amplification should be provided in accordance with family centred care guidelines i.e. with informed family / caregiver choice and consent and with timely provision of information based on current scientific evidence. | Clinical observation - case audit
Assessment and Aetiology | 3B | 5 | Services adhere to the NICE guidelines for OME management which include consideration of watchful waiting, amplification, medical intervention and evidenced based non-invasive intervention (e.g. Otovent). Compliance with these guidelines is monitored and reported. | Audit of compliance of guidelines
Assessment and Aetiology | 3B | 6 | Audiology reports and testing should include patient / parent observations about the child’s hearing ability. Where discrepancy exists between patient / parent reported observation of hearing and audiometric results, i.e. parents feel strongly there is a hearing issue, but behavioural assessment is normal, it is good practice to include a ‘cross check principle’ on the results, which may include but is not limited to OAEs, acoustic reflexes, functional speech testing, ABR etc. Where required further investigation, support and management should be arranged | Copy of reports
Assessment and Aetiology | 3B | 7 | NICE criteria for consideration of cochlear implantation for children and families are discussed with families. Where a child or young person is within those criteria, a documented conversation should take place at the earliest possible opportunity to offer the family a referral. All children and families whose audiological status meet these criteria should also be given information or directed to further information on cochlear implants in their preferred language (where this is available). | Copy of report for a child with a profound hearing loss which confirms this
Assessment and Aetiology | 3B | 8 | For children with permanent sensorineural hearing loss, a discussion on the parent / carers choice for mode of communication should take place at the point of diagnosis or at a time close to it appropriate to the family. This should be documented including information visual/signing, total communication and talking and listening options. These options should be regularly reviewed with the family to ensure that informed choices are made. | Copy of report for a child which confirms this
Assessment and Aetiology | 3B | 9 | An individual management plan is created for each child. This should be documented, updated, and reviewed at each appointment. (See section 4.) | Copy of IMP
Assessment and Aetiology | 3B | 10 | The involvement of support services (usually education) should be introduced to parents at the earliest opportunity following a diagnosis of PCHI. If parents / carers consent to a referral, support services should be informed about the diagnosis within two working days. Once consent has been obtained, support services should be included in copies of all assessment and rehabilitation information for that child thereafter and given the opportunity to attend appointments (face to face or virtually) if appropriate. | Protocol which details this and audit of compliance
Assessment and Aetiology | 3B | 11 | Ideally Children’s Services (from education, speech therapy, or other specialist providers) should contact the family within two working days of being informed of a new PCHI diagnosis. | Audit of compliance of guidelines
Assessment and Aetiology | 3C | 1 | The medic carrying out the aetiological investigations for the hearing loss should have appropriate ongoing training in this field and must have a clear understanding of the role and importance of the existing national guidelines for the investigations and should be able to discuss this with the parents.
Assessment and Aetiology | 3C | 2 | The responsible medic must keep themselves updated regularly with developments and advances in this field. They must also have the knowledge and expertise to request and interpret the results of the various investigations and be able to explain this to the parents in lay terms. There must also be clear pathways and protocols agreed for onward referrals as necessary.
Assessment and Aetiology | 3C | 3 | Aetiological investigations should also include a clinical vestibular assessment with pathways in place if a diagnostic vestibular assessment is required.
Assessment and Aetiology | 3C | 4 | The service must have clearly defined pathways and protocols for the early diagnosis and management of congenital CMV as progression of the hearing loss associated with this can be prevented by early diagnosis and treatment.
Assessment and Aetiology | 3C | 5 | The service must meet clearly defined timescales for newborns, infants, children and young people to see the medic for carrying out aetiological investigations. In the case of newborns, diagnosing and starting treatment for congenital CMV within four weeks of life is vital and as such there must be well defined pathways to achieve this. Some other investigations like Radiology (MRI) can be done without the need for sedation or GA if carried out before babies are three months old and as such they need to be seen as soon as possible once PCHI is confirmed, to facilitate this. In the case of infants, children, and young people, they must be seen by the medical team to carry out the investigations in line with national reporting pathways (e.g. RTT).

## Individual Management Plan
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Individual Management Plan | 4 | 1 | An IMP is developed and agreed with each patient which includes the programme of audiological management and details of the next priority for assessment as required. | Copy of IMP
Individual Management Plan | 4 | 2 | The IMP includes goals and priorities set jointly by the child or young person / family and professionals for their audiological priorities and current speech, language and listening outcomes / progress. Where possible, a specified keyworker from the audiology team is named as a point of contact. These goals and priorities are communicated in copies of letters / IMPs to key support professionals (in education, independent and NHS therapists and third sector) and with the family. | Copy of IMP
Individual Management Plan | 4 | 3 | For those patients that require transition to adult services, the IMP follows the young person through transition and is forwarded to the adult service. This includes a synopsis of current hearing levels, hearing aids and prescription (NAL or DSL) for the fitting, ALDs and key personnel, with a copy for the young person. | Copy of IMP

## Hearing Aid Management
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Hearing aid management, selection, verification and evaluation | 5A | 1 | All children identified with PCHI through recognised audiological provision are offered an appointment for the fitting of amplification / their hearing aid(s) within four weeks of decision to aid. | Audit of waiting times
Hearing aid management, selection, verification and evaluation | 5A | 2 | For temporary hearing losses when hearing intervention is indicated, pathways are in place to facilitate effective amplification (e.g. hearing aid or bone conduction devices), watchful waiting and referral to ENT services if required. Information should be provided to the family / child to make an informed choice on the options for managing their hearing needs in addition to possible referral and monitoring by ENT. | Copy of pathway and information
Hearing aid management, selection, verification and evaluation | 5A | 3 | Families requesting routine replacement ear moulds are offered an impression appointment within one week of request. Misplaced / lost earmoulds are treated as hearing aid repairs as per 5a. 4. | Audit of repair waiting times
Hearing aid management, selection, verification and evaluation | 5A | 4 | Appointments for hearing aid repairs are offered within two working days of request. | Audit of repair waiting times
Hearing aid management, selection, verification and evaluation | 5A | 5 | Services offer several ways to repair hearing aids such as face-to-face appointments, drop in, postal repairs or drop off and collect. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5A | 6 | The service supports its users without need to contact the service, such as by signposting to accessible video clips on simple fault finding or re-tubing from home, utilising other professionals and agencies contributing and maintaining effective amplification use (for example NDCS, voluntary services, TOD, therapists, hearing aid dispensers, ConnEvans, and charities such as Ewing Foundation). | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5A | 7 | Where a family requests a second opinion on their child’s care, this should be facilitated wherever possible, externally if necessary. When not possible, the reason for this should be clearly outlined and documented. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5B | 1 | The service provides a range of types of amplification devices for the population they serve, e.g. different power hearing aids, bone conduction devices, wireless and radio aid ready devices and CROS hearing aids. The type of amplification and the features / programmes are activated based on the individual child’s need with information provided to the child/family to allow them to make informed choices. Volume control and programs, if required, are activated when children can use them appropriately and effectively. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5B | 2 | Where hearing aids are fitted, tamper-proof battery drawers are fitted to all children’s hearing aids in line with national guidance11, based on age and other needs. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5B | 3 | The service discusses environmental assistive listening devices such as remote microphone technology with the child / family and, together with educational services, the options for provision of this technology. | Policy and Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5B | 4 | There is a written policy on candidacy for radio aids and remote microphones, agreed with the provider of the device, taking account of recent research and recommendations on use of remote microphone technology and bone conduction devices in pre-school and school-age groups. Collaboration with education, therapy and charity sector agencies is optimised for seamless support in use of remote microphone technology including Bluetooth and streaming options. | Policy on radio aids and assistive devices
Hearing aid management, selection, verification and evaluation | 5C | 1 | Local protocols comply with the latest professional bodies’ guidance and national commissioning guidance concerning the selection, fitting, and verification of hearing aids. Prescription targets are based on evidence-based formulae, considering observations from the child and family (DSL, NAL NL2 etc). Data-logging of the recorded hours of hearing aid use, or situations in which hearing aids are worn, is included in the IMP | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5C | 2 | Verification of hearing aid performance at first fitting is carried out using Real Ear Measurement (REM) or Real Ear to Coupler Difference measurements (RECD), in line with BSA recommended procedures12 unless clinically contraindicated where predicted RECDs should be used. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5C | 3 | Verification of hearing aid performance by REM or RECD takes place at standard intervals or when clinically relevant to do so and this is documented within the notes. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5C | 4 | Where REM / RECD measurements are performed, responses should be adjusted to fall within the recommended target tolerance12, unless clinically contraindicated and this is recorded within the notes. Where clinically appropriate, the aided SII score should be evaluated using the Ped Amp norms to validate the hearing aid fitting and if appropriate and considered necessary, fine-tuned accordingly16. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5C | 5 | When REM / RECD is contraindicated, predicted RECD should be used. Where insitu REM / RECD is not attempted or cannot be completed or cannot meet target, an explanation is recorded in the notes. Where real ear verification has not been completed appropriate validation is essential. This may include, but is not limited to, review of SII scores and functional speech testing. Real ear verification should be prioritised at the next face to face appointment. | Clinical Audit of cases
Hearing aid management, selection, verification and evaluation | 5C | 6 | A range of outcome measures is regularly performed by the service in collaboration with the ToD to evaluate detection of sounds through the hearing aids fitting, functional listening of a child and to guide and support further management. This is particularly important when hearing thresholds or hearing aid verification is incomplete. These outcome measures may also include LittlEARs, Peach and other questionnaires to monitor progress and speech/language outcomes. This information is included in the clinical report so that educational and therapy professionals know what signals are audible in planning structured listening input. | Clinical Audit of cases

## Skills and Expertise
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Skills and Expertise | 6 | 1 | All eligible clinical staff are registered with a registration body, eg HCPC, RCCP or ACHS and participate in relevant CPD activity. | Copy of registration of staff
Skills and Expertise | 6 | 2 | Staff in senior positions within the service have significant practical experience and proven competency in paediatric assessment and (re)habilitation. | Evidence of recent competency assessment in testing
Skills and Expertise | 6 | 3 | Staff understand the pathways within the Paediatric Audiology service and participate in quality assurance methods e.g. audit to ensure the quality, safety, and efficiency of services. | Discussion with staff
Skills and Expertise | 6 | 4 | Competency of staff to perform clinical procedures is verified by peer review or competency checks on both the use of equipment and the testing method at least every two years and these are formally documented. | Evidence of recent competency assessment in testing
Skills and Expertise | 6 | 5 | If the service undertakes ABR testing, it takes an active part in an external ABR peer review scheme. | ABR peer review documentation
Skills and Expertise | 6 | 6 | If the service undertakes behavioural testing (conditioned play audiometry (CPA) and visual reinforcement audiometry (VRA) it undertakes peer-review of these procedures. | Peer review documentation
Skills and Expertise | 6 | 7 | There is a service process for acting on peer review observations so that opportunities for retraining and upskilling are made available. Training is available within teams through ongoing processes of assessment and appraisal in clinical practice. | Evidence of where peer review observations have been acted on
Skills and Expertise | 6 | 8 | When a case of mis-identified hearing loss occurs, the opportunity is used to review the case in an open and transparent way. Duty of candour to the family should be explored 13. A senior professional should over-see this process to review the factors around the cause of the error, to prioritise and amend the patient-management pathway. A documented procedure and training opportunity is applied to make this error less likely to happen in future. | Clinical audit of case
Skills and Expertise | 6 | 9 | All staff demonstrate competence in the roles performed. There is a record of appropriate training being accessed with at least biennial updates on advances in paediatric audiology, hearing aid technology and assistive devices. Staff should also keep a up-to-date, relevant CPD portfolio for their role and registration. | CPD evidence for staff
Skills and Expertise | 6 | 10 | All staff working with the audiology department undergo Deaf awareness training and refreshers every three years as part of their mandatory training. | CPD evidence for staff

## Service Effectiveness
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Service Effectiveness and Improvement | 7a | 1 | Patients can feedback after every appointment through Friends and Family cards or other hospital schemes. | Friends and family feedback
Service Effectiveness and Improvement | 7a | 2 | The audiology service seeks the views of stakeholders at least every two years, including support agencies, CHSWG, charities, education and therapy agencies around outcomes for communication and educational achievement goals for children with PCHI. | CHSWG minutes
Service Effectiveness and Improvement | 7a | 3 | The results of surveys, quality assessments, outcomes and areas for improvement are made publicly available. The service level outcome from the NHSP management system (e.g. Smart 4 Hearing (S4H)) database is audited. | Audit of S4H, survey results availabilty
Service Effectiveness and Improvement | 7a | 4 | Services monitor their quality management on an ongoing basis. A robust audit and clinical assurance timetable and strategy should be in place including where any serious incidents are reviewed annually as information for sharing and training updates. | Robust audit and clinical assurance timetable and strategy
Service Effectiveness and Improvement | 7b | 1 | The service takes an active role in a Children’s Hearing Services Working Group (CHSWG) 14. Where a local CHSWG is not in place, a local user group should exist including educational services, families, children, and young adults, and meets at least twice a year. Services should promote CHSWG or the user group and encourage feedback and suggestions in service planning. | CHSWG minutes
Service Effectiveness and Improvement | 7b | 2 | The outcomes of service level quality assurance work, surveys or accreditation are shared with CHSWG and / or reported to the local user group with opportunities for collaboration and inclusion, directed to improved outcomes of management for PCHI children and families. | CHSWG minutes

## Collaborative Working
Area | Section | Code | Description | Examples of Evidence of compliance | Not met | Partially met | Fully met | Evidence and comments
Collaborative Working | 8 | 1 | The service has access to, or can refer children and young people to, as a minimum; educational services, specialist speech and language services, paediatricians, auditory implant services, social care, voluntary agencies and Child and Adolescent Mental Health Services (CAMHS) ideally without the need for them to revisit their GP. | Referral protocol
Collaborative Working | 8 | 2 | Where a family state that care has not met their expectations, the service should be supportive in both exploring how this can be improved and with advice about how to seek onwards referral for a second opinion if desired. | Protocol which details this
Collaborative Working | 8 | 3 | When a family / child is referred to another agency, following parental consent there is ongoing sharing of information both by that service and by audiology which routinely feeds back and informs the IMP regardless of whether provision is through NHS, independent or charity-sector agencies. Information around equipment settings is shared between agencies, as standard (grommet insertion, ear-mould provision, glasses prescription, radio aid settings, Cochlear Implant model). | Protocol which details this
Collaborative Working | 8 | 4 | The service understands its role in the safeguarding of children, has a nominated safeguarding lead within the organisation and has a policy on safeguarding which is routinely followed. | Named and documented safeguarding lead with clear safeguarding policy
Collaborative Working | 8 | 5 | The service has a guideline / policy for children who are not brought to appointments, and this is followed routinely. Children with active management of PCHI should be discussed with the team around the child before discharge is made. | Was not brought policy which is audited for compliance
Collaborative Working | 8 | 6 | The service has clear lines of responsibility and accountability within the governance framework, and this is documented within job descriptions and organisation structures. | Clear governance structure